## Slide 1: Design of City-wide Heating Network
Network Design case solved by Quantum Computing
The slides are a work in progress. This document is a draft for exchange of ideas. It is not a well-checked proposal or a verified technical presentation.

## Slide 2: Understanding of core problem
City-wide network of water pipes
Multiple known source/supply locations
  With known capacity
  With known costs of generation
Multiple known demand/destination locations
  With known requirement
Option A: Connections (or pipes)
  Connect a pair of nodes
  Known capacity of flow
  Known distance or loss function
Option B: Intermediate connector nodes
  Neither source nor destination
  Used for routing, re-directing and control of flow

## Slide 3: Understanding of core problem
City-wide network of water pipes
Multiple known source/supply locations
  With known capacity
  With known costs of generation
Multiple known demand/destination locations
  With known requirement
Option A: Connections (or pipes)
  Connect a pair of nodes
  Known capacity of flow
  Known distance or loss function
Option B: Intermediate connector nodes
  Neither source nor destination
  Used for routing, re-directing and control of flow

## Slide 4: Understanding of core problem
City-wide network of water pipes
Multiple known source/supply locations
  With known capacity
  With known costs of generation
Multiple known demand/destination locations
  With known requirement
Option A: Connections (or pipes)
  Connect a pair of nodes
  Known capacity of flow
  Known distance or loss function
Option B: Intermediate connector nodes
  Neither source nor destination
  Used for routing, re-directing and control of flow

## Slide 5: Understanding of core problem
City-wide network of water pipes
Multiple known source/supply locations
  With known capacity
  With known costs of generation
Multiple known demand/destination locations
  With known requirement
Option A: Connections (or pipes)
  Connect a pair of nodes
  Known capacity of flow
  Known distance or loss function
Option B: Intermediate connector nodes
  Neither source nor destination
  Used for routing, re-directing and control of flow

## Slide 6: Understanding of core problem
City-wide network of water pipes
Multiple known source/supply locations
  With known capacity
  With known costs of generation
Multiple known demand/destination locations
  With known requirement
Intermediate connector nodes
  Neither source nor destination
  Used for routing, re-directing and control of flow
Connections (or pipes)
  Connect a pair of nodes
  Known capacity of flow
  Known distance or loss function

## Slide 7: Possible Constraints
Source/supply locations
  Max capacity
  Costs of generation
Demand/destination locations
  With known requirement
  Optional Priority
Connector nodes
  Routing and control of flow
Connections (or pipes)
  Max capacity
  Known distance or loss

## Slide 8: Possible Objectives
Cost Minimization – We can meet all demands already
Objective Function: Maximize
Demand Fulfillment – We cannot meet all demands
Objective Function: Minimize
Not mathematically correct. The decision variables are not yet introduced

## Slide 9: Decision Variables
Fraction of demand of j met by i
Demand Constraint:
Capacity Constraint:
Still not yet mathematically correct. The decision variables are not yet complete for

## Slide 10: Correlate to Vehicular Network QUBO formulation
QUBO Equivalent formulation
https://www.nature.com/articles/s41598-023-38787-2

## Slide 11: What-If Analysis
Reasons behind analysis
Non-linear variations: Network parameters fluctuate unpredictably.
Sensitivity to change: Small shifts can disrupt the entire system.
Predictive modeling: Identifies fluctuation limits and risks.
Adaptive control: Suggests adjustments for stable performance.
Contents of analysis
Demand-based supply: Temperature adjustment to meet requirements.
Predictive forecasting: Supply temperature estimation for the next hour.
Optimal discharge timing: Identifying the right moment for adequate supply.
Storage integration: Incorporating a water tank for system efficiency.
Sensitivity to change: Small shifts can disrupt the entire system.

## Slide 12: Demand-based Supply
RHN has different demands and different intervals of time.
Variable demand: RHN requires different supply temperatures at different times.
Manual adjustment: Operators tweak temperatures to match network demand.
Optimized supply: Determining the required temperature for each interval.
How to obtain such supply temperature ?
Sensitivity to change: Small shifts can disrupt the entire system.
Demand 00-01 | Demand 01-02 | Demand 02-03 | Demand 03-04
0.000 | 0.000 | 0.000 | 0.000
168.438 | 55.727 | 55.308 | 55.099
181.637 | 59.917 | 59.708 | 59.498
130.100 | 43.157 | 42.738 | 42.738

## Slide 13: Optimized Modelling for Demand Fulfilment
Sensitivity to change: Small shifts can disrupt the entire system.
Idealized Network Analysis – No losses; gives lower bound of supply temperature.
Realistic Network Analysis – Maximum load; upper bound limited by boiling temperature.
Optimized Iterative Process – Ensures same mass flow rate, refining supply temperature.
Final Supply Temperature – Obtained after convergence for the queried time interval.

## Slide 14: Optimized Modelling for Demand Fulfilment
Sensitivity to change: Small shifts can disrupt the entire system.
Input – Demand for the given time interval.
Lower Bound – Simplified graph model estimates minimum temperature for the same mass flow rate.
Upper Bound – Full-load network analysis determines maximum feasible temperature.
Optimization – Iterative process refines parameters to achieve the best solution.
Solution converges to the most optimal possibility!

## Slide 15: Optimal Discharge Timing
Sensitivity to change: Small shifts can disrupt the entire system.
Path Analysis – Multiple routes with known velocities and lengths.
Critical Path – Discharge based on longest travel time.
Temperature Boost – Raised to compensate for max delay.
Final Timing – Set by max travel time across all sinks.

## Slide 16: Adjustments and Future work
Sensitivity to change: Small shifts can disrupt the entire system.
Speed Optimization – Develop a more robust and efficient computation method for faster convergence.
Web Integration – Implement an interactive UI with a backend, hosted on the department's local server.
Real-Time Monitoring – Enable live tracking of system parameters through the web interface.
Storage Tank Modeling – Introduce high-temperature storage tanks to meet demand when solutions fail to converge.
Boiling Point Constraint Handling – Adjust supply mechanisms when the required temperature exceeds the boiling point.
Scalability & Flexibility – Enhance the model for future expansions and dynamic operational adjustments.